## Slide 1: Algae – Wastewater – Biogas
AlgaeBioGas: Establishment of Large Scale Demonstration Centre for Algal-Bacterial Digestate Treatment and Algal Biomass Production
Robert Reinhardt
AlgEn, algal technology centre, Slovenia
robert@algen.si

## Slide 2: Agenda
Algae – Wastewater – Biogas
  Algae
  Algal Bacterial Wastewater treatment
  Biogas landscape
  Biogas: carbon and nutrient cycle
AlgaeBioGas project
  algal-bacterial treatment of biogas digestate
  algae as biogas feedstock
Saltgae project
  Introduction
  .

## Slide 3: Algae
Aquatic photosynthetic organisms
    Macro algae
    Micro alage
    Cyanobacteria
  Algae = technical term
Algal technology
      Botanics  agronomy thousands of years
      Phycology  algal technology tens of years
Macrocystis pyrifera
Heomatoccoccus pluvialis
Scenedesmus quadricauda
Arthrospira (Spirulina) sp.

## Slide 4: Wastewater
Wastewater
  Organics, Nitrogen, Phosphorus = nutrients
  Other pollutants (heavy metals, micro-pollutants)
  Chemical/Biological Oxygen Demand (COD/BOD)
Wastewater treatment
Algae & wastewater
  Nature’s method to treat wastewater
  Technologically used for at least 60 years

## Slide 5: Algal bacterial process Biological Aerobic Wastewater Treatment
Bacteria
CO2
Nutrients N, P, …
O2
Organic matter
Treated water
Waste water
Bacterial
sludge
Aeration
GHG
Removed in Tertiary treatment

## Slide 6: Algal bacterial process Photosynthesis
Algae
Sun
CO2
Nutrients N, P, …
O2
Biomass

## Slide 7: Algal Bacterial (ALBA) Wastewater Treatment
Algae
Sun
Bacteria
CO2
Nutrients N, P, …
O2
Organic matter
Treated water
Waste water
Algal Bacterial
sludge

## Slide 8: Algal Bacterial (ALBA) Wastewater Treatment
lagoon treatment
shifting objectives in the past (energy was “free”, no GHG paranoia)
use / valorisation of ALBA biomass
algae : bacteria - C : N
more diverse microbial community  less sensitive to sudden changes (antibiotics, biocides, salt, …)
can use additional CO2

## Slide 9: A research topic of today
no state of the art universal solutions
Algal – bacterial community is unstable  needs to be controlled
WW may be dark – no light for algae – no oxygen for bacteria
removal of heavy metals, accumulated toxic substances, salt, …
should be independent of weather
harvesting – sedimentation, DAF, …
dark / light sections
floc ecology, auto-flocculation

## Slide 10: Biogas landscape
BioGas
Landfil
Wastewater sludge
BioWaste
Wastewater (anaerobic treatment)
Agricultural waste
Energy crops
Anaerobic Digestion
Pyrolysis
HT
LT
p

## Slide 11: Biogas landscape
www.acs-environment.com
HTI tanks
LSI group
BioGas
Landfil
Wastewater sludge
BioWaste
Wastewater (anaerobic treatment)
Agricultural waste
Energy crops
Anaerobic Digestion
Grid
Fuel
Bio Methane
Piston
Turbine
Fuel-cells
CHP
Low – High tech
Liquid – Solid
Salinity
Stages
Mesophilic – Thermophilic

## Slide 12: Biogas plants
Legislation & policy
  Gas grid  CHP
  Waste  energy crops
  Access to power grid
  Nitrogen vulnerable zones
  Subsidies
  15000+ biogas plants in EU
EurObserv’ER

## Slide 13: Biogas digestate
Ideally: all organics consumed
Digestate = ideal agricultural fertilizer
CO2

## Slide 14: Biogas digestate
In reality:
  Very dilute (80-150 m3/ha)
  Logistics
    Storage
    Transportation
    Machinery
  Agro-technical problems
    Liquid
    Nutrient flushing from soil
Separation to liquid and solid phase
  Solid – like ordinary fertilizer
  Liquid – wastewater – only limited application as fertilizer
Waste, end-of-waste directive, control & monitoring

## Slide 15: Liquid phase of biogas digestate
One of the hard-to-treat substances
COD 5000 – 50000 mg O2/L
Classical WW processing (3 – 20 €/m3)
  Energy consuming conversion or organics and nutrients to CO2 and N2
  Loss of energy and nutrients
Alternatives:
  Drying
  Ultrafiltering
  Reverse osmosis
  …
  Algal treatment

## Slide 16: AlgaeBioGas Basic Cycle
CO2
digestate as source of nutrients
biogas
heat & power
algal products
algal biogas
substrate

## Slide 17: Algae as biogas substrate
Hard to digest
C : N ratio (high C substrate should be added)
Pre-treatment required
  Heating, enzymatic, fungal, bacterial, ultrasonification, pressure shock, …
Thermophilic process optimal
If done properly biogas productivity comes close to corn silage (based on dry weight)
Depends on species & composition
Cannot be cost effective unless grown on wastewater or digestate (nutriens with negative cost)
Fundamental technology for WW nutrient and energy recovery

## Slide 18: AlgaeBioGas Project
Algal treatment of biogas digestate and feedstock production
An Eco-Innovation project (CIP-EIP-Eco-Innovation-2012)
Pilot and market replication project
Two partners:
    AlgEn, algal technology centre,
    KOTO, biogas operator, animal waste treatment facility both in Ljubljana, Slovenia

## Slide 19: AlgaeBioGas Objectives
Objectives:
    Demonstration centre design, construction, operation
    Prepare technology for replication
    Market development activities
Finished in August 2016:
    Demonstration centre operational
    Legislation analysis, LCA, business planning
    Complementary technologies being tested
    Technical development (controls, ponds)
    Presentations & visits
    Installation #2 is being built

## Slide 20: Subsystems
Ponds: main & inoculation
Mixing equipment
Greenhouse
Heating & cooling
Exhaust gas supply (cooling, purification)
Digestate supply (separation, anaerobic filter, storage)
Sedimenter / clarifier & recycling
Switching to DAF
Control system
Digestate supply
CO2 supply
Heating & cooling
Inoculation pond
Main pond
Sedimentation
& harvesting
Supernatant outflow
Greenhouse

## Slide 21: Location

## Slide 22: Greenhouse, ponds, mixing, CO2

## Slide 23: Digestate preparation

## Slide 24: Control & instrumentation

## Slide 25: Observed performance in digestate treatment
Running for more than 2 years
Weather dependent (performance 3 to 1)
Natural species only
Sedimentation does not work - DAF
Model biogas CHP with 1 MWe - to recycle major part of nutrients:
  area 3 - 5 ha
  volume 3000 – 17000 m3
  60 – 200 t algae bacterial biomass p.a.
  use approx the same amount of carbon rich substrate
  replacing 120 – 400 t dry mass of corn = 360 – 1200 t of corn silage
  replacing 8 – 26 ha of corn fields

## Slide 26: COD and NH4 removal performance
Chart: 
| 42119 | 42140.5 | 42161.5 | 42189.5 | 42242 | 42298 | 42312 | 42319 | 42327.5 | 42340 | 42361.5 | 42383 | 42397 | 42411 | 42425 | 42432 | 42439 | 42446 | 42453 | 42460 | 42467 | 42474 | 42481 | 42488 | 42495 | 42502 | 42509 | 42516 | 42523 | 42530 | 42537 | 42544 | 42551 | 42558 | 42565 | 42572 | 42579
NH4-N (mg/L) | 1245 | 1380 | 1510 | 1510 | 1400 | 1374 | 1360 | 1430 | #N/A | 1657.5 | 1340 | 1370 | 1570 | 1440 | 1460 | 1430 | 1440 | 1740 | 1430 | 1390 | 1480 | 1528 | 1780 | 1690 | 1608 | 1590 | 1760 | 1730 | #N/A | 1760 | 1795 | 980 | 1560 | 1389 | 1486 | 1498 | 1373.5
NH4-N (mg/L) | 4.8 | 41.275 | 46 | 68.8 | 97 | 236 | 231 | 22.9 | 71.4 | 140 | 49 | 81 | 1.8 | 16.8 | 25.2 | 34.1 | 35.4 | 38.6 | #N/A | #N/A | 76.3 | 106 | 84.3 | #N/A | 90.3 | 80.5 | 48 | 45.1 | 66.3 | 60.6 | 60.6 | 53.8 | 46.35 | 75.8 | 98 | 121 | 117
COD (mg O2/L) | 7486.25 | 6151.875 | 8056.25 | 8141.6667 | 7350 | 3392.5 | 3422.5 | 3667.5 | 8735 | 4557.5 | 8387.5 | 10207.5 | 9550 | 9642.5 | 8960 | 8880 | 9432.5 | 7670 | 7355.5 | 7530 | 6770 | 8245 | 6935 | 7320 | 7816 | 9160 | 8902.5 | 9875 | 8970 | 8172.5 | 8895 | 5683.5 | 5907.3333 | 5235 | 5992.5 | 5360 | 6235
COD (mg O2/L) | 606 | 213.25 | 238.5 | 578.5 | 302 | 625 | 622 | 276 | 257 | 245.5 | 396 | 243 | 436 | 245 | 274 | 386 | 374 | 430 | #N/A | #N/A | 610 | 357 | 617 | #N/A | 284 | #N/A | #N/A | #N/A | #N/A | 242 | #N/A | 191 | 254.5 | 238.5 | 346 | 291 | 317

## Slide 27: Digestate inflow
Chart: 

## Slide 28: Future
Installation #2 in Italy (0.5 ha)
Complementary technologies:
  Digestate pre-treatment
  Auto(bio)flocculation, DAF
  ALBA biomass pre-treatment for biogas
  Animal feed trials (fish, chicken)
Technical & manufacturing
  More cost-effective ponds
  Better performance & more control
Partners: sales & implementation service

## Slide 29: Saltgae
Demonstration project to prove the techno-economic feasibility of using algae to treat saline wastewater from the food industry
Horizon 2020 project
Started in June 2016
19 partner consortium
3 demo sites:
  Slovenia: AlgaeBioGas  demonstration site for treating tannery wastewater
  Italy: salty whey from cheese industry
  Israel: high intensity fish farming to algal products

## Slide 30: Saltgae
Anaerobic digestion in salty conditions: two phase, dilution
Process kinetic modelling (ALBA, N cycles?)
CFD modelling (ponds, mixing, ...)
Redesign of HRAP
High BOD and Low BOD processes

## Slide 31: Thank you for your attention
Questions?
Welcome to visit the demonstration centres